## EMS Monitoring Report
EMS Monitoring Report 2026 (Active Energy in kWh)
Date | Old LT Panel Main Incomer | Chiller Plating Plant | Packing & Stiching Line | Rigga Line Fabrication | Press & Fabrication | Powder Coating | New Plating Plant | Old Plating Plant | Kaeser ASD 60 40HP Air Compressor | ELGI E18 25HP Air Compressor | ELGI E45 60HP Air Compressor | DIPP_PT_PANEĹ | DUST_ COLLECTOR | SPRAY_PT_PANEL | DM Plant | Total
Cum. (YTD)
2026-09-01 | 2935.61 | 135.18 | 373.23 | 96.7 | 690.42 | 1619.92 | 0.86 | 168.5 | 595.79 | 0.03 | 818.87 | 0.03 | 191.3 | 10.53 | 139.19
2026-09-02 | 3781.31 | 196.51 | 418.54 | 100.42 | 959.82 | 2018.34 | 1 | 79.61 | 799.66 | 0.06 | 1045.8 | 0 | 251.63 | 4.94 | 172.77
2026-09-03 | 3939.61 | 191.53 | 460.24 | 117.87 | 1045.82 | 2001.61 | 1.15 | 2.1 | 798.93 | 0.05 | 1039.09 | 0.32 | 253.43 | 5.11 | 162.37
2026-09-04 | 3743.3 | 185.04 | 535.09 | 241.99 | 1020.71 | 1962.2 | 1.24 | 7.05 | 788.45 | 0.04 | 987.95 | 0.08 | 247.68 | 4.22 | 167.2
2026-09-05 | 3826.3 | 188.71 | 497.49 | 234.7 | 1100.89 | 1986.35 | 1.26 | 2.6 | 797.88 | 0.04 | 1000.93 | 0.08 | 248.62 | 4.59 | 132.3
2026-09-06 | 3444.83 | 184.01 | 488.17 | 164.68 | 917.03 | 1972.85 | 1.08 | 2.93 | 790.67 | 0.03 | 1004.56 | 0.2 | 249.31 | 4.34 | 159.5
2026-09-07 | 622.37 | 12.96 | 79.12 | 0.81 | 236.59 | 454.54 | 0.1 | 0.42 | 188.29 | 0 | 148.61 | 0 | 41.44 | 6.16 | 100.29
2026-09-08 | 2810.95 | 137.85 | 473.31 | 120.39 | 891.4 | 1529.23 | 0.91 | 5.07 | 605.72 | 0.03 | 823.37 | 0 | 179.04 | 6.17 | 155.65
2026-09-09 | 3910.3 | 184.42 | 525.43 | 192.91 | 1003.71 | 2039.47 | 1.12 | 2 | 797.79 | 0.06 | 1030 | 0.06 | 248.22 | 5.5 | 182.15
2026-09-10 | 3719.08 | 187.31 | 449.57 | 204.01 | 1002.96 | 1955.74 | 1.29 | 3.63 | 787.46 | 0.06 | 959.07 | 0.07 | 225.64 | 7.79 | 174.73
2026-09-11 | 3183.94 | 124.93 | 466.56 | 171.67 | 1059.49 | 1748.36 | 0.87 | 3.19 | 796.28 | 0.05 | 943.66 | 0.06 | 217.93 | 22.85 | 187.77
2026-09-12 | 3165.92 | 141.35 | 477.82 | 179.22 | 1009.43 | 2018.03 | 1.21 | 2.6 | 776.61 | 0.04 | 1012.75 | 0.17 | 251.5 | 9.19 | 160.99
2026-09-13 | 4133.96 | 186.34 | 502.56 | 117.35 | 1022.16 | 2006.73 | 1.14 | 1.41 | 777.41 | 0.03 | 993.75 | 0.12 | 263.08 | 18.15 | 215.98
2026-09-14 | 949.03 | 42.89 | 54.78 | 2.18 | 253.34 | 600.34 | 0.26 | 0.04 | 221.02 | 0 | 230.06 | 0 | 73.99 | 2.23 | 89.09
2026-09-15 | 2892.35 | 67.92 | 403.37 | 141.14 | 919.3 | 1479.62 | 0.79 | 128.47 | 571.25 | 0.03 | 789.73 | 0.57 | 197.88 | 7 | 157.17
2026-09-16 | 3420.54 | 66.1 | 504.68 | 171.81 | 1039.61 | 1975.17 | 0.77 | 193.03 | 773.41 | 0.04 | 1023.72 | 0.43 | 263.22 | 17.66 | 149.81
2026-09-17
2026-09-18
2026-09-19
2026-09-20
2026-09-21
2026-09-22
2026-09-23
2026-09-24
2026-09-25
2026-09-26 | 3306.11 | 104.4 | 461.67 | 128.19 | 1113.45 | 1996.49 | 0.93 | 1.66 | 784.31 | 0.02 | 1013.04 | 21.24 | 726.81 | 657.91 | 171.91
2026-09-27 | 3276.92 | 81.83 | 521.87 | 151.71 | 995.4 | 2059.25 | 0.9 | 1.23 | 790.88 | 0.02 | 990.29 | 18.43 | 736.91 | 690.27 | 148.55
2026-09-28 | 789.6 | 4.31 | 73.59 | 4.73 | 278.38 | 641.9 | 0.01 | 0.23 | 239.85 | 0 | 231.02 | 0.33 | 229.02 | 237.08 | 103
2026-09-29 | 2693.38 | 47.15 | 478.77 | 160.88 | 861.33 | 1482.52 | 0.88 | 2.61 | 579.52 | 0.04 | 823.89 | 14.14 | 545.91 | 454.2 | 153.79
2026-09-30
2026-10-01
2026-10-02 | 3755.42 | 77.1 | 507.24 | 129.38 | 1142.53 | 2135.18 | 1.17 | 2.37 | 790.29 | 0.03 | 1024.55 | 9.8 | 735.86 | 716.43 | 184.62
2026-10-03 | 888.22 | 27.06 | 101.97 | 0.55 | 269.88 | 584.68 | 0.25 | 0.17 | 300.39 | 0 | 162.82 |  | 160.67 | 184.42 | 72.49
2026-10-04 | 3067.8 | 72.72 | 431.34 | 155.6 | 975.41 | 1631.4 | 1.01 | 2.19 | 592.18 | 0.05 | 834.52 | 13.4 | 551.12 | 505.52 | 155.04
2026-10-05 | 976.64 | 22.92 | 60.1 | 0.56 | 303.84 | 669.17 | 0.24 | 0.31 | 246.8 | 0 | 229.77 | 0.41 | 203.74 | 231.55 | 94.74
2026-10-06 | 3038.24 | 74.98 | 448.07 | 151.45 | 985.4 | 1574.03 | 1.09 | 4.88 | 596.6 | 0.05 | 839.78 | 17.74 | 544.24 | 497.28 | 158.43
2026-10-07 | 3748.32 | 112.84 | 444.91 | 159.77 | 1027.03 | 1972.74 | 1.25 | 44.06 | 781.78 | 0.04 | 1051.4 | 16.22 | 730.42 | 612.17 | 184.77
2026-10-08 | 4205.83 | 130.81 | 534.28 | 203.26 | 1016.07 | 2012.4 | 1.48 | 315.91 | 774.22 | 0.01 | 1037.01 | 14.58 | 733.75 | 637.52 | 163.04
2026-10-09
2026-10-10
2026-10-11
2026-10-12
2026-10-13
2026-10-14
2026-10-15
2026-10-16
2026-10-17
2026-10-18
2026-10-19
2026-10-20
2026-10-21
2026-10-22
2026-10-23
2026-10-24
2026-10-25
2026-10-26
2026-10-27
2026-10-28
2026-10-29
2026-10-30
2026-10-31
2026-11-01
2026-11-02
2026-11-03
2026-11-04
2026-11-05
2026-11-06
2026-11-07
2026-11-08
2026-11-09
2026-11-10
2026-11-11
2026-11-12
2026-11-13
2026-11-14
2026-11-15
2026-11-16
2026-11-17
2026-11-18
2026-11-19
2026-11-20
2026-11-21
2026-11-22
2026-11-23
2026-11-24
2026-11-25
2026-11-26
2026-11-27
2026-11-28
2026-11-29
2026-11-30
2026-12-01
2026-12-02
2026-12-03
2026-12-04
2026-12-05
2026-12-06
2026-12-07
2026-12-08
2026-12-09
2026-12-10
2026-12-11
2026-12-12
2026-12-13
2026-12-14
2026-12-15
2026-12-16
2026-12-17
2026-12-18
2026-12-19
2026-12-20
2026-12-21
2026-12-22
2026-12-23
2026-12-24
2026-12-25
2026-12-26
2026-12-27
2026-12-28
2026-12-29
2026-12-30
2026-12-31
2027-01-01
2027-01-02
2027-01-03
2027-01-04
2027-01-05
2027-01-06
2027-01-07
2027-01-08
2027-01-09
2027-01-10
2027-01-11
2027-01-12
2027-01-13
2027-01-14
2027-01-15
2027-01-16
2027-01-17
2027-01-18
2027-01-19
2027-01-20
2027-01-21
2027-01-22
2027-01-23
2027-01-24
2027-01-25
2027-01-26
2027-01-27
2027-01-28
2027-01-29
2027-01-30
2027-01-31
2026-08-31 | 757.37 | 0 | 53.69 | 1.47 | 176.12 | 682.22 | 0.05 | 0.03 | 304.07 | 0 | 154.93 | 0.01 | 81.62 | 0.89 | 122.55
2026-08-29 | 3538.62 | 197.64 | 461.78 | 77.31 | 837.19 | 2090.5 | 1.32 | 2.77 | 795.17 | 0 | 992.3 | 0.2 | 245.3 | 3.41 | 166.61
2026-08-30 | 3248.96 | 181.87 | 482.64 | 50.56 | 940.04 | 1742.42 | 1.33 | 2.41 | 767.61 | 0.01 | 856.47 | 0.5 | 209.66 | 1.03 | 183.43